# White Mountain Apache

Fire & Rescue Department

Adopted 09/02/08

Occupational Safety and Health

SOP 402.01 Fire Station Safety/Security

- Purpose

  - The purpose of this policy is to establish guidelines relative to the general security of fire department stations and establishes safety regulations to be followed by employees assigned to a fire station.

- Scope

  - This standard applies to all employees of the department.

- Policy

  - Fire stations shall comply with all applicable health, safety, building and fire code requirements.

  - All fire stations are designated as tobacco, alcohol and controlled substance free, and no one will be permitted to drink alcohol, smoke or use smokeless tobacco products within the fire station or its grounds.

  - Floors shall be kept clean and free from obstructions. Slippery substances such as
water, oil and other fluids shall not be allowed to accumulate on a floor surface and shall be mopped up as soon as practical.

  - All tools and equipment shall be maintained in a clean and serviceable condition and shall be returned to their proper place immediately after each use.

  - All flammable and combustible liquids and gasses shall be stored in the station's flammable liquid cabinet or outside. The cabinet shall be maintained in a clean and orderly manner and shall be kept closed and free of obstructions.

  - Prior to each use, all electrical equipment such as extension cords shall be inspected to prevent the possibility of shock or electrocution.

  - Horseplay is strictly forbidden.

  - Proper care shall be exercised when using any chemical product, pesticide, solvent, or other harmful or toxic substance.

  - Caution shall be exercised when using ladders for cleaning, painting, etc.

  - All smoke detectors, fire extinguishers, exit signs and other safety equipment shall be maintained in proper working order.

  - Running inside the station is prohibited.

  - Any defective equipment or unsafe condition shall be reported immediately.

  - Fire stations shall always be locked and secured whenever the station is unattended.

  - Automatic overhead door closures shall not be activated until the apparatus has completely cleared the door.

  - All lawn work shall be conducted in proper attire and the appropriate safety precautions shall be taken.

  - Apparatus will not be run in the engine bays unless the doors can be opened to allow the removal of engine exhaust or the apparatus exhaust is connected to an exhaust removal system.

  - Station Inspection

    - The station safety officer and a member responsible for fire inspections shall inspect each fire station at least once during a six month period. The inspectors shall check the stations for compliance with the applicable codes and safety standards. A copy of the report with will be given to the officer on duty at the time of the inspection and to the fire chief.

    - If possible, corrections should be made immediately.

    - If necessary, a re-inspection shall be scheduled prior to concluding the inspection.

    - The results of these inspections shall be reviewed during the officer's annual
performance evaluation.

- Responsibilities

  - All employees shall strictly adhere to all safety regulations.

  - Officers shall be responsible for maintaining their assigned station in a safe and healthy manner and shall promptly correct any deficiencies.

  - Any member who violates a safety regulation shall be promptly reprimanded and the violation reported to a fire chief.