# White Mountain Apache

Fire & Rescue Department

Adopted 10/16/08

Occupational Safety and Health

SOP 403.01 Protective Clothing and Equipment

- Purpose

  - The purpose of this policy is to establish guidelines for the use of protective clothing and equipment to reduce the risk of illness, injury, or death that might result from an employee's exposure to a hazardous environment.

- Scope

  - This standard applies to all employees required to work in hazardous environments.

- Policy

  - Each employee shall wear protective clothing and use equipment appropriate for the hazards to which he/she is exposed.

  - Each employee shall property maintain the protective clothing and equipment that
have been issued to him/her and that are carried on the apparatus.

  - Any equipment or protective clothing that is found to be unsafe or inoperable shall be "red-tagged", removed from service immediately, and forwarded to the appropriate officer for repair.

  - Structural Firefighting

    - Each employee assigned to fight structure fires shall be issued protective clothing and equipment that comply with all applicable NFPA standards and local requirements. These items shall include:

      - Helmet (NFPA 1972)

      - Boots (NFPA 1974)

      - Gloves (NFPA 1973)

      - Coat (NFPA 1971)

      - Pants with suspenders (NFPA 1971)

      - SCBA facepiece (NFPA 1981)

      - Hood (NFPA 1971)

    - No alterations shall be made to the protective clothing without the approval of the fire chief.

    - Each employee operating within a perimeter designated as hazardous by the I.C. or the incident safety officer shall wear his/her protective clothing in the prescribed manner. The I.C. or incident safety officer shall determine when and if it is safe to remove some or all of the protective clothing and equipment.

    - Employees shall be fully clothed beneath their turnouts.  It is highly recommended that all clothing worn under the personal protective clothing are made of cotton material or other flame resistant material.

    - To assist employees with identifying rank at an incident scene, helmets are color-coded and/or marked as follows:

      - White: Fire Chief (Fire Chief, Asst. Chief, Deputy Chief)

      - Red: Company Officers (Captain, Lieutenant)

      - Yellow: Firefighters

      - Firefighter (certified)

      - Trainee (uncertified)

    - Purchase of structural firefighting protective clothing is contingent upon funding availability.

  - SCBA

    - All self-contained breathing apparatus used by the department shall comply with NFPA 1981.

    - Unless the safety of the atmosphere can be determined by testing and continuous monitoring, all personnel shall use SCBA while working in areas where:

      - The atmosphere is hazardous.

      - The atmosphere is suspected of being hazardous.

      - The atmosphere may rapidly become hazardous.

    - Employees wearing SCBA shall always work in teams of at least two employees each.

    - SCBA and spare cylinders shall be kept on each apparatus and be available for immediate use.

    - SCBA shall not be removed until the I.C. or incident safety officer has determined by testing that the atmosphere is no longer hazardous and that CO levels are 0 ppm.

      - Exception: Wildland Fires involving natural vegetation.

    - A personal alert safety system (PASS) device that complies with NFP 1982 shall be assigned to each SCBA and shall be activated whenever the SCBA is in use.

  - Wildland Firefighting

    - Protective clothing and equipment that meet NFPA 1977, Standard on Protective Clothing and Equipment for Wildland Fire Fighting, shall be provided for use by each employee assigned to a brush engine. These items shall include:

      - Helmet w/ shroud

      - Boots

      - Gloves

      - Coat or shirt

      - Pants or coveralls

      - Goggles

      - Ear protection

      - Day Pack w/ Fire shelter

    - Wildland gear shall be worn in lieu of structural protective clothing when fighting grass, brush, tree and wildland fires.

    - Wildland personal protective clothing shall be brought to work each shift, regardless of weathers or the season, as part of emergency operations uniform.

    - Purchase of wildland firefighting protective clothing is contingent upon funding availability.

  - Life Safety Ropes, Harnesses, and Hardware

    - All life safety ropes, harnesses and hardware used by the department shall meet the applicable requirements of NFPA 983, Standard on Fire Service Life Safety Rope and System Components.

    - Class I life safety harnesses shall be used for firefighter attachment to aerial devices.

    - Class III life safety harnesses shall be used for all arrest and rappelling operations.

    - Rope used to support the weight of employees or other persons shall be life safety rope.

      - Life safety rope used to support the weight of employees or other persons shall be inspected before and after each use in accordance with the manufacturer's instructions and may be reused provided it has not sustained any visual damage due to heat, abrasion, shock loading, chemical exposure, or other dangerous conditions.

    - Life safety rope used for rescue at fires or other emergency incidents or for training shall be inspected before and after each use in accordance with the manufacturer's instructions and may be reused provided it has not sustained any visual damage due to heat, direct flame impingement, chemical exposure, or abrasion.

  - Water Rescue

    - Personal flotation devices (PFD) and helmets shall be worn at all times during a water rescue when in or within 10 feet of the shoreline.

    - PFDs shall be inspected for rips, tears, compartments that leak, etc. prior to each use.

    - No firefighter shall be dressed in firefighter structural protective clothing and be committed to any part of a swift water rescue incident or be allowed within 10 feet of the shoreline.

    - Ropes shall be utilized anytime during a water rescue when in the water.

- Reserved