White Mountain Apache

Fire & Rescue Department

HOSE TEST INFORMATION SUMMARY

| Date: |  | Comp/Shift: |  | Test: |  |
| --- | --- | --- | --- | --- | --- |
| Hose Location: |  | Veh. #: |  | Rack: |  |

| 1 ¾” Attack Hose |  |  |  | 3” Hose |  |  |  | 2 ½” Hose |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hose # | P | F | Length | Hose # | P | F | Length | Hose # | P | F | Length |
| 6” Hose |  |  |  | Notes: Testing done in accordance with NPFA 1962 - Standard for the Inspection, Care, and Use of Fire Hose, Couplings, and Nozzles and the Service Testing of Fire Hose, 2003 Edition. 1) 5” tested at 200 psi for 3 minutes. 2) All others (1 ¾”, 2 ½” & 3”) tested at 300 psi for 3 minutes. 3) Mark hose in pen (not marker) at couplings prior to pressurizing. 4) Inspect hose and couplings prior to testing. 5) Gate down discharge to near closed while testing. 6) Helmets and gloves to be worn while testing. 7) Ensure water circulation thru pump while testing. 8) Bleed all air from hose before testing. 9) Maximum 300’ per test discharge. 10) During test, walk hose, assess couplings for slippage. |  |  |  |  |  |  |  |
| Hose # | P | F | Length |  |  |  |  |  |  |  |  |

White Mountain Apache

Fire & Rescue Department

HOSE TEST INFORMATION SUMMARY

| Date: |  | Comp/Shift: |  | Test: |  |
| --- | --- | --- | --- | --- | --- |
| Hose Location: |  | Veh. #: |  | Rack: |  |

| Station Hose |  |  |  | 5” [Supply] Hose |  |  |  | 3” Hose |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hose # | P | F | Length | Hose # | P | F | Length | Hose # | P | F | Length |